**Interference Modeling**

**in Multiplex Proteomics**

## Overview

This document serves as a guide to the demo for the interference modeling workflow on GitHub. The demo comes with its own dataset, on which basis the workflow can be experienced from start to finish. I recommend running the demo first before applying the workflow to your own data – this will get you familiar with the required data input, the script’s many parameters as well as the intermediate and final data output. We will first look at the required setup for running the workflow, and then how to run it. Finally, there is a description of the generated output.

## Required Setup

# Each time you want to use this workflow, I recommend creating a new folder (here: “Demo”) in which to put all the necessary software (i.e. scripts and tools) as well as the required data input to run the script. For this demo, the required setup looks like this:

# 


# Let’s go over the individual files:

* **msms.txt** is a MaxQuant PSM table, i.e. a database search result that lists row-wise PSMs. Note that a FragPipe PSM table is also supported by the workflow. For this demo, you can download msms.txt on GitHub in the Demo folder. It is already prefiltered to make the file size smaller, since in this demo we are only interested in PSMs coming from measurements of acetyl-peptide enriched samples. The unfiltered version of this file -which ultimately generates the exact same output since the script would otherwise perform this filtering - is available on PRIDE (identifier PXD040449), among the search results contained in “MaxQuant\_SiteToProteinNorm\_txt.zip”.
* **rawfiles** is a subfolder that should be created. It needs to contain the Thermo raw files (\*raw) corresponding to the PSMs contained in the PSM table (msms.txt). The workflow requires Thermo raw files in order to extract scan-specific information like noise values etc. via the rawStallion tool (see below) and save them to tsv, which can subsequently be read into R. For this demo, we need the following six raw files that correspond to acetyl (K)-peptide enriched measurements:

20200909\_QExHFX1\_RSLC1\_Madern\_Hartl\_UW\_MFPL\_master\_exp\_p1\_acet.raw  
20200909\_QExHFX1\_RSLC1\_Madern\_Hartl\_UW\_MFPL\_master\_exp\_p2\_acet.raw  
20200909\_QExHFX1\_RSLC1\_Madern\_Hartl\_UW\_MFPL\_master\_exp\_p3\_acet.raw  
20200909\_QExHFX1\_RSLC1\_Madern\_Hartl\_UW\_MFPL\_master\_exp\_p4\_acet.raw  
20200909\_QExHFX1\_RSLC1\_Madern\_Hartl\_UW\_MFPL\_master\_exp\_p5\_acet.raw  
20200909\_QExHFX1\_RSLC1\_Madern\_Hartl\_UW\_MFPL\_master\_exp\_p6\_acet.raw

The raw files are available for download on PRIDE (identifier PXD040449). Note that you can make this demo shorter by skipping directly to the tsv files and placing them in the folder “rawfiles”. The tsv files are also available for download on PRIDE (identifier PXD040449) and stored as “rawStallion\_tsvfiles.zip”.

* **rawStallion** is a Windows command-line application using Thermo RawFileReader software that reads relevant information (e.g. noise values, intensity values, etc.) from Thermo raw files and writes them to two tsv files per raw file. You can download rawStallion here: <https://github.com/fstanek/rawStallion>. If you don’t have immediate access to a Windows operating system, you can find the corresponding tsv files for this demo on PRIDE (identifier PXD040449) as “rawStallion\_tsvfiles.zip”. Download the data, unzip it and put the tsv files into the “rawfiles” folder:



Using the tsv files instead of Thermo raw files will let you run the demo while skipping the section requiring rawStallion.

* **IM.Rmd** is the R Markdown script to perform the entire workflow in R. This file is located in the main folder of the repository on GitHub.
* **functions\_IM.R** contains functions automatically sourced by the main script “IM.Rmd”. This file is located in the main folder of the repository on GitHub.
* **impurity\_matrix\_tmtpro.csv** is a csv file that contains an isotopic impurity matrix specific to the multiplexing label reagents used in the experiment. This file is required because the workflow extracts reporter ion intensities from MS2 spectra, and subsequently aims to impurity-correct them using this matrix. Rows in the matrix reflect relative contribution of individual reagents to reporter ion channels ordered along the columns. You can find “impurity\_matrix\_tmtpro.csv” required for this Demo on GitHub in the Demo folder. Note that for any other dataset, ideally the impurity matrix is always manually adjusted using the isotopic impurity information on the product sheet that comes with the labeling kit.

## Running the Program

Open the script IM.Rmd in R studio and make sure your working directory is set to the folder (here “Demo”) that contains the necessary software and data described above. We can then proceed to go through the script!

The first code block loads multiple required packages:

Text

Description automatically generated

Make sure these packages are installed prior to running the script. Regular R packages can be installed within R-studio. To install Bioconductor packages, visit the respective Bioconductor website (e.g. <https://bioconductor.org/packages/release/bioc/html/MSnbase.html>) and follow the instructions in the “Installation” section.

The second code block is where the user is required to specify the input parameters needed to successfully run the script. These parameters aim to configure the program to your specific data input. Anything outside of this code block does not need input from the user. In its current form, the script’s parameters are configured to make the demo work.

Here is a screenshot of the top few parameters:

Text

Description automatically generated

Make sure to understand each parameter by reading the respective comments above the lines of code. If specified incorrectly, the program will produce errors down the line. If a parameter is described as “Optional”, specifying this parameter is not required for successfully running the program, as some steps in the workflow can skipped. Set optional parameters to their default value (e.g. NULL, or “”) to skip these sections. The default values of optional parameters are mentioned in the comments.

Once all parameters are specified, the entire script can be executed, code block after code block. Each code block performs a specific task and often produces intermediate output (visual and/or textual) of interest. This output should hopefully be insightful once you read the corresponding paper (“A causal model of ion interference enables assessment and correction of ratio compression in multiplex proteomics”). Additionally, the comments in the code should provide the necessary understanding to what is happening.

Roughly, the script performs the following steps in order:

1. Reading in data and modifying it (e.g. filtering for raw files of interest, filtering out contaminants, etc.).
2. Using rawStallion to extract raw file-specific variables (e.g. noise-values, intensity values, etc.) and save them as tsv files.
3. Calculation of raw-file specific variables using the tsv files (e.g. reporter intensities, PPF, TIW, etc.).
4. Calculation of other variables for modeling (e.g. peptide density, number of labels per peptide, empirical peptide classes, etc.)
5. Modeling via robust multiple linear regression.
6. Using estimated model parameters to calculate EIL values (Estimated Interference Levels).
7. Performing between-sample normalization.
8. Performing interference-correction based on EIL values on normalized intensity data, which generates interference-corrected normalized intensity data.
9. Exporting all data as modified PSM table with extra variables (columns).

At several points during the workflow, the script will create a session image and save it in the working directory, e.g. “session\_including\_MS1\_features\_2023-02-28.RData”. These sessions can be reloaded at a later time point via the R function load() to access or recreate part of the workflow without starting from scratch again.

Code blocks described as “Optional” can be skipped, since they are not required to successfully run the program. Note that some code blocks will take some time to run, especially if there are many raw files to be processed.

**Output**

The script produces an output table called “modified\_PSM.txt” that is stored in a folder named Results (“Demo/Results/modified\_PSM.txt”). This table is a modified version of the input PSM table but contains multiple additional columns that are generated while running the script. Notable column additions are: Normalized reporter intensity columns (suffix *“\_norm”);* normalized interference-corrected reporter intensity columns (suffix *“\_norm\_\_interference\_corrected”);* and the columns EIL (Estimated Interference Level) and PPF (Precursor Purity Fraction).

Note that the output table “modified\_PSM.txt” of this demo serves as input to the demo for site-to-protein normalization in multiplex proteomics (see another GitHub repository named “SiteToProteinNormalization\_in\_MultiplexProteomics”). Hence you can continue from here if you choose to follow the second demo.

**Comments**

Note that we advise that all the raw files used in the workflow at a time are of similar nature, i.e. they come from the same experiment and even the same sub-experiment (here: acetylome measurements) within the experiment. If there are different kinds of raw files in your PSM table (e.g. measurements of unmodified peptides, acetyl-peptides, and phospho-peptides – all from the same experiment), it is best to run them all separately through this workflow. The reason for that is that they are best normalized and thus interference-corrected independently from each other, since distinct types of peptides (i.e. unmodified, acetyl, phospho, etc.), even within the same experiment, can differ in their relative sample contribution.