**Interference Modeling**

**in Multiplex Proteomics**

## Overview

This document serves as a guide to the demo for the interference modeling workflow on GitHub. The demo comes with its own dataset, on which basis the workflow can be experienced from start to finish. We recommend running the demo first before applying the workflow to your own data – this will get any new user familiar with the required data input, the script’s many parameters as well as the intermediate and final data output. We will first look at the required setup for running the workflow, and then how to run it. Finally, there is a description of the generated output.

## Required Setup

# For each new application of the workflow, we recommend creating a new folder (here: “Demo”) containing all the necessary software (i.e. scripts and tools) as well as the required data input to run the script. For this demo, the required setup looks like this:

# 

***Figure 1 - Overview of required setup of files and directories.***

# Here is a detailed description of all the individual files:

* **msms.txt** is a MaxQuant PSM table, i.e. a database search result that lists row-wise PSMs. Note that a FragPipe PSM table is also supported by the workflow. For this demo, the input PSM- table “msms.txt” is available for download on GitHub in the Demo folder. Note that this table was already filtered for certain raw files of interest to decrease the file size. The PSM table for the demo contains PSMs coming from measurements of acetyl-peptide enriched samples. The unfiltered version of this table - which would generate the exact same output filtering - is available on PRIDE (identifier PXD040449), among the search results contained in “MaxQuant\_SiteToProteinNorm\_txt.zip”.
* **rawfiles** is a required subdirectory. It needs to contain the Thermo raw files (\*.raw) corresponding to the PSMs contained in the PSM table (msms.txt). The Thermo raw files are required in order to extract scan-specific information like noise values etc. via the rawStallion tool (see below) and save them as tsv files, which can subsequently be read into R. For this demo, we need the following six raw files:

20200909\_QExHFX1\_RSLC1\_Madern\_Hartl\_UW\_MFPL\_master\_exp\_p1\_acet.raw  
20200909\_QExHFX1\_RSLC1\_Madern\_Hartl\_UW\_MFPL\_master\_exp\_p2\_acet.raw  
20200909\_QExHFX1\_RSLC1\_Madern\_Hartl\_UW\_MFPL\_master\_exp\_p3\_acet.raw  
20200909\_QExHFX1\_RSLC1\_Madern\_Hartl\_UW\_MFPL\_master\_exp\_p4\_acet.raw  
20200909\_QExHFX1\_RSLC1\_Madern\_Hartl\_UW\_MFPL\_master\_exp\_p5\_acet.raw  
20200909\_QExHFX1\_RSLC1\_Madern\_Hartl\_UW\_MFPL\_master\_exp\_p6\_acet.raw

These raw files resulted from measurements of acetyl (K)-peptide enriched samples and they are available for download on PRIDE (identifier PXD040449, https://www.ebi.ac.uk/pride/archive/projects/PXD040449). Note that this demo can be made shorter by skipping directly to the tsv files and placing them in the folder “rawfiles” instead (please see Figure 3 below). The tsv files are also available on PRIDE (identifier PXD040449) and stored as “rawStallion\_tsvfiles.zip”:

A screenshot of a computer

Description automatically generated

***Figure 2 - tsv files for Demo available on PRIDE.***

A screenshot of a computer

Description automatically generated

***Figure 3 - tsv files for Demo in the “rawfiles” folder.***

* **rawStallion** is a Windows command-line application using Thermo RawFileReader software that reads relevant information (e.g. noise values, intensity values, etc.) from Thermo raw files and writes them to two tsv files per raw file. The tool can be downloaded here: <https://github.com/fstanek/rawStallion>. For users who don’t have access to a Windows operating system, please find the corresponding tsv files for this demo on PRIDE (identifier PXD040449) as “rawStallion\_tsvfiles.zip”. Download the data, unzip it and put the tsv files into the “rawfiles” folder as shown in Figure 3.

Using the tsv files instead of Thermo raw files allows running the demo without needing rawStallion. This is especially relevant for non-Windows OS.

* **IM.Rmd** is the R Markdown script to perform the entire workflow in R. This file is located in the main folder of the repository on GitHub.
* **functions\_IM.R** contains functions automatically sourced by the main script “IM.Rmd”. This file is located in the main folder of the repository on GitHub.
* **impurity\_matrix\_tmtpro.csv** is a csv file that contains an isotopic impurity matrix specific to the multiplexing label reagents used in the experiment. This file is required because the workflow extracts reporter ion intensities from MS2 spectra, and subsequently impurity-correct them for isotopic impurities using this matrix. Rows in the matrix reflect relative contribution of individual reagents to reporter ion channels ordered along the columns. Please find the corresponding file “impurity\_matrix\_tmtpro.csv” required for this Demo on GitHub in the Demo folder. Note that for any other dataset, ideally the impurity matrix is always manually adjusted using the isotopic impurity information on the product sheet that comes with the labeling kit.

## Running the Program

Open the script IM.Rmd in R studio and make sure your working directory is set to the directory (here “Demo”) that contains the necessary software and input data described above. We can then proceed to go through the script.

The first code block loads multiple required packages:

Text

Description automatically generated

***Figure 4 –Code block loading required R and Bioconductor packages.***

These packages need to be installed prior to running the script. Regular R packages can be installed within R-studio. To install Bioconductor packages, please visit the respective Bioconductor websites (e.g. <https://bioconductor.org/packages/release/bioc/html/MSnbase.html>) and follow the instructions in the respective “Installation” section. The second code block is where the user is required to specify the input parameters needed to successfully run the script. These parameters aim to configure the program to your specific data input. Please note that anything outside of this code block does not require input from the user ☺. In its current form on GitHub, the script’s parameter settings are configured to run the demo.

Here is a screenshot of the top few parameters:

Text

Description automatically generated

***Figure 5 –Code block listing customizable parameters of the workflow***

To gain insight into each parameter, please refer to the respective comments above each line of code. If specified incorrectly, the program might produce errors down the line. If a parameter is described as “Optional”, specifying this parameter is not required for successfully running the program, as some steps in the workflow can be skipped. Note that optional parameters can be set to their default value (e.g., NULL, or “”) to skip the corresponding code sections. The default values of optional parameters are mentioned in the comments.

Once all parameters are specified, the entire script can be executed code block after code block. Each code block performs a specific task and often produces intermediate output (visual and/or textual) of interest. We hope that this output is clear in the context of our publication (“A causal model of ion interference enables assessment and correction of ratio compression in multiplex proteomics”). Additionally, the comments in the code provide additional information on the workflow.

Roughly, the script performs the following steps in order:

1. Reading in data and modifying it (e.g. filtering for raw files of interest, filtering out contaminants, etc.).
2. Using rawStallion to extract raw file-specific variables (e.g. noise-values, intensity values, etc.) and save them as tsv files.
3. Calculation of raw-file specific variables using the tsv files (e.g. reporter intensities, PPF, TIW, etc.).
4. Calculation of other variables for modeling (e.g. peptide density, number of labels per peptide, empirical peptide classes, etc.)
5. Modeling via robust multiple linear regression.
6. Using estimated model parameters to calculate EIL values (Estimated Interference Levels).
7. Performing between-sample normalization.
8. Performing interference-correction based on EIL values on normalized intensity data, which generates interference-corrected normalized intensity data.
9. Exporting all data as modified PSM table with extra variables (columns).

At several points during the workflow, the script will create a session image and save it in the working directory, e.g. “session\_including\_MS1\_features\_2023-02-28.RData”. These sessions can be reloaded at a later time point via the R function load() to access or recreate part of the workflow without starting from scratch again.

Code blocks described as “Optional” can be skipped, since they are not required to successfully run the program. Please note that some code blocks will take some time to run, especially if there are many raw files to be processed.

**Output**

The script produces an output table called “modified\_PSM.txt” that is stored in a folder named Results (see “Demo/Results/modified\_PSM.txt” for an example). This table is a modified version of the input PSM table and contains multiple additional columns that are generated while running the script. Notable column additions are: Normalized reporter intensity columns (suffix *“\_norm”);* normalized interference-corrected reporter intensity columns (suffix *“\_norm\_\_interference\_corrected”);* and the columns EIL (Estimated Interference Level) and PPF (Precursor Purity Fraction).

Please note that the output table “modified\_PSM.txt” of this demo serves as input to the demo for site-to-protein normalization in multiplex proteomics (see another GitHub repository named “**SiteToProteinNormalization\_in\_MultiplexProteomics**”). Hence a demo user can directly continue from here.

**Additional Comments**

Please note that we advise that all the raw files used in the workflow at a time are of similar nature, i.e., that they come from the same experiment and even the same sub-experiment (e.g., acetylome measurements) within the experiment. If there are different kinds of raw files in a PSM table (e.g. measurements of unmodified peptides, acetyl-peptides, and phospho-peptides – all from the same experiment), it is best to run them all separately through this workflow. The reason for that is that they are best normalized and thus interference-corrected independently from each other, since distinct types of peptides (i.e. unmodified, acetyl, phospho, etc.), even within the same experiment, can differ in their relative sample contribution and thus background interference level. Crucially, if the assumption of uniform background interference (after between-sample normalization) is compromised, the interference correction algorithm will introduce bias.